## Modules
Modules | Description | Learning Objectives
Module 1: Image Quality and Error Correction | Develop the ability to identify radiographic errors, understand their causes, and apply corrective techniques to produce diagnostic-quality images. | 1. Accurately classify radiographs as diagnostic or non-diagnostic with ≥90% accuracy 2. Identify common radiographic errors (e.g., cone cut, overlap, elongation, foreshortening, motion artifact, exposure errors) with ≥ 90% accuracy 3. Determine the most likely cause of radiographic errors, including positioning, angulation, receptor placement, and exposure technique, in ≥90% of cases 4. Select the appropriate corrective action needed to produce a diagnostic-quality image in ≥90% of cases 5.Differentiate errors requiring retake from acceptable diagnostic variation in ≥90% of cases 6.Explain how specific image quality errors impact diagnostic interpretation and clinical decision-making in ≥90% of responses
Module 2: Radiographic Mounting | Build skills to correctly orient and mount intraoral radiographs using standard conventions and anatomical cues | 1. Correctly orient intraoral radiographs (maxillary vs mandibular, right vs left) with ≥90% accuracy 2. Assemble bitewing and full-mouth radiographic series (FMX) using standard mounting conventions with ≥90% accuracy 3.Identify anatomical landmarks used to determine radiographic orientation in ≥90% of cases 4.Differentiate correctly mounted from incorrectly mounted radiographs with ≥90% accuracy 5.Apply spatial reasoning to localize radiographic structures within the oral cavity in ≥90% of cases 6.Correct mounting and orientation errors using anatomical and positional cues in ≥90% of exercises
Module 3: Tooth Identification and Localization | Establish fluency in identifying and localizing teeth across radiographic views using morphology, position | 1. Correctly identify teeth on bitewing and periapical radiographs using the Universal numbering system with ≥90% accuracy 2. Correctly determine whether a radiograph shows the right or left side of the mouth with ≥90% accuracy 3. Correctly determine whether a radiograph is maxillary or mandibular with ≥85% accuracy 4.Use tooth shape, root structure, and position within the arch to distinguish between similar teeth on radiographs with ≥80% accuracy 5.Correctly identify adjacent teeth and tooth relationships on radiographs with ≥90% accuracy 6.Identify missing, restored, impacted, or malpositioned teeth on radiographs with ≥90% accuracy
Module 4:Normal Anatomy vs Pathology Maybe Normal anatomy | Train learners to differentiate normal anatomical structures and radiographic artifacts from pathology through pattern recognition and visual discrimination. | 1. Correctly classify radiographic findings as normal anatomy, radiographic artifact, or pathology with ≥90% accuracy 2. Identify common normal anatomical structures on radiographs (e.g., mental foramen, maxillary sinus, nutrient canals) with ≥90% accuracy 3. Differentiate common radiographic artifacts and normal anatomical variations from caries or periapical pathology in ≥90% of cases 4. Correctly identify false-positive trap cases (e.g., cervical burnout, overlapping contacts, mental foramen) with ≥90% accuracy 5.Use radiographic features such as shape, border definition, location, and symmetry to justify whether a finding is normal or pathologic in ≥90% of responses 6. Avoid overdiagnosing normal anatomical structures or artifacts as pathology in ≥90% of cases 7. Demonstrate improved accuracy in distinguishing normal anatomy from pathology after AI dialogue or annotation review in ≥15% of applicable cases
Module 5: Radiographic Interpretaion & AI Comparison | Apply structured diagnostic reasoning to identify pathology, then compare, refine, and justify interpretations through AI-assisted dialogue and feedback. | 1. Correctly identify common radiographic findings, including caries, bone loss, periapical lesions, and restorative defects, with ≥90% accuracy 2. Correctly identify the affected tooth and surface associated with a radiographic finding with ≥90% accuracy 3. Use radiographic evidence, including radiolucency pattern, location, border definition, and surrounding structures, to support diagnostic decisions in ≥90% of responses 4. Differentiate true pathology from overlapping structures, artifacts, or normal anatomy in ≥90% of cases 5. Compare personal diagnostic interpretations with AI-generated feedback and determine whether the AI interpretation is correct in ≥90% of cases 6. Appropriately accept, refine, or challenge AI-generated interpretations using radiographic evidence in ≥90% of interactions 7. Demonstrate improvement in diagnostic accuracy after AI dialogue or annotation review in ≥15% of applicable cases 8. Avoid changing a correct diagnosis to an incorrect diagnosis after AI or annotation feedback in ≥90% of applicable cases 9. Demonstrate improved confidence calibration by aligning confidence scores with diagnostic accuracy in ≥90% of cases
Module 6: Clinical Documentation and EHR Simulation | Translate radiographic findings into accurate clinical documentation by selecting the correct tooth, surfaces, and diagnoses within a simulated EHR workflow | 1. Correctly select the affected tooth on a digital odontogram based on radiographic findings with ≥90% accuracy 2. Correctly identify and chart the affected tooth surfaces (M, D, O, B, L) with 90% accuracy 3. Accurately assign radiographic findings or diagnoses within the simulated EHR workflow in ≥85% of cases 4. Differentiate between findings that require treatment, monitoring, or no intervention in ≥80% of cases 5.Use patient history, symptoms, and radiographic findings together to support charting and treatment decisions in ≥90% of cases 6.Complete the correct clinical workflow sequence (review radiograph → interpret findings → chart diagnosis) in ≥90% of exercises 7.Avoid documentation errors involving incorrect tooth selection, wrong surface selection, or incorrect diagnosis assignment in ≥85% of cases 8.Revise charting decisions appropriately after AI dialogue or annotation review in ≥90% of applicable cases 9. Demonstrate improved efficiency in completing radiographic charting tasks over repeated cases while maintaining diagnostic accuracy in ≥80% of exercises
Module 7 Panoramic View | Interpreting panoramic radiographs, including recognition of anatomy, distortions, artifacts, and diagnostic limitations. | 1. Correctly identify major anatomical structures on panoramic radiographs with ≥90% accuracy 2.Correctly determine whether panoramic findings represent normal anatomy, artifact, distortion, or pathology in ≥80% of cases 3. Identify common panoramic imaging errors and distortions (e.g., ghost images, positioning errors, magnification, blurring) with ≥90% accuracy 4. Differentiate true pathology from panoramic artifacts or superimposed structures in ≥90% of cases 5. Recognize when panoramic imaging is appropriate or insufficient for diagnostic evaluation in ≥80% of scenarios 6. Correctly localize radiographic findings to the appropriate region of the jaws on panoramic images with ≥90% accuracy 7. Use panoramic radiographic features, including symmetry, location, and border definition, to support interpretation decisions in ≥90% of responses 8.Compare personal interpretations with AI-generated feedback and appropriately accept, refine, or challenge AI-supported findings in ≥90% of applicable cases 9. Demonstrate improved accuracy in identifying panoramic artifacts and distortions after AI dialogue or annotation review in ≥15% of applicable cases
Module 8 Advanced Cases & Clinical Decision Making | Integrate radiographic interpretation, clinical context, AI interaction, and decision-making in complex, ambiguous cases requiring prioritization and judgment | 1. Correctly identify multiple radiographic findings within a single case with ≥90% accuracy 2.Correctly determine which radiographic finding is the highest clinical priority in ≥90% of cases 3.Differentiate findings that require treatment, monitoring, referral, or no intervention in ≥90% of cases 4.Use radiographic evidence, patient history, symptoms, and risk factors together to support clinical decision-making in ≥90% of responses 5.Correctly distinguish clinically significant pathology from incidental findings, normal anatomy, or radiographic artifacts in ≥90% of cases 6. Appropriately accept, refine, or challenge AI-generated interpretations and treatment recommendations using radiographic evidence in ≥90% of interactions 7. Avoid changing a correct diagnosis or management decision to an incorrect one after AI or annotation feedback in ≥90% of applicable cases Demonstrate improvement in diagnostic accuracy and management decisions after AI dialogue or annotation review in ≥15% of applicable cases Provide evidence-based justification for treatment, monitoring, or referral decisions in ≥90% of responses 8. Demonstrate improved efficiency in evaluating complex multi-finding cases while maintaining diagnostic accuracy in ≥90% of exercises

## InteractionDesign
Module | Objective # | Question Type | Student Action | Input Type | Expected Response | What We Measure
1 | 1 | Diagnostic quality | Select diagnostic vs nondiagnostic | Multiple choice | Binary | Classification accuracy
1 | 2 | Error identification | Select radiographic error | Multiple choice | Single select | Error recognition
1 | 3 | Cause identification | Select likely cause | Multiple choice | Single select | Understanding
1 | 4 | Correction selection | Choose corrective action | Multiple choice | Single select | Decision-making
4 | 1 | Normal vs pathology | Select classification | Binary | Binary | False positives
Module | Objective # | Question Type | Student Action | Input Type | Expected Response | What We Measure
5 | 2 | Area of Interest | Mark area of interest | Area Selection | Faculty-defined area | Localization accuracy
5 | 2 | Tooth Identification | Select tooth | Tooth Selection | Tooth number | Tooth identification accuracy
5 | 2 | Surface Identification | Select surface | Single Select | Surface | Surface identification accuracy
5 | 1 | Finding Identification | Select finding | Single Select | Finding | Diagnostic accuracy
5 | 5,6 | AI Interpretation | Evaluate AI Interpretation | Single Select | Student decision | AI influence on interpretation
5 | 9 | Faculty Review | Review annotated image and explanation | Faculty Review | Learning completed | Learning reinforcement

## CaseLibrary
Case ID | Module | Case Name | Case Type | Case Focus | Difficulty | Ground Truth | Question Type | Notes
M1-01 | 1 | Cone Cut BW | Error correction |  | 1 | Cone cut | Error ID | Easy
M1-02 | 1 | Horizontal Overlap BW | Error correction |  | 2 | Horizontal overlap | Error ID | Incorrect horizontal
M1-03 | 1 | Elongated PA | Error correction |  | 2 | Elongation | Error ID | Vertical angulation too low
M1-04 | 1 | Foreshortened Premolar PA | Error correction |  | 2 | Foreshortening | Error ID | Vertical angulation too steep
M1-05 | 1 | Motion Blur Molar BW | Error correction |  | 1 | Motion artifact | Error ID | Patient movement during exposure
M1-06 | 1 | Light Exposure BW | Error correction |  | 1 | Underexposure | Error ID | Insufficient exposure settings
M1-07 | 1 | Dark Exposure PA | Error correction |  | 1 | Overexposure | Error ID | Excessive exposure settin
M1-08 | 1 | Reversed Film Artifact | Error correction |  | 2 | Herringbone artifact | Error ID | Receptor placed backward
M1-09 | 1 | Partial Cone Cut PA | Error correction |  | 1 | Cone cut | Error ID | PID misalignment
M1-10 | 1 | Overlapped Premolar Contacts | Error correction |  | 2 | Horizontal overlap | Error ID | Difficult caries visualization
M4-01 | 4 | Mental Foramen | False positive trap |  | 2 | Normal anatomy | Normal/pathology | High yield
M4-02 | 4 | Cervical Burnout | False positive trap |  | 2 | Artifact | Normal/pathology | Common error
M4-03 | 4 | Nutrient Canal Mimic | False positive trap |  | 2 | Normal anatomy | Normal vs pathology | Linear radiolucency mistaken for fracture or lesion
M4-04 | 4 | Maxillary Sinus Superimposition | False positive trap |  | 2 | Normal anatomy | Normal vs pathology | Sinus floor mistaken for pathology near molar roots
Case ID | Module | Case Name | Case Type |  | Difficulty | Ground Truth | Case Category | Notes
M5-01 | 5 | Interproximal Caries – #30 Mesial | Radiographic Interpretation |  | 2 | Interproximal caries on #30M | Radiographic Interpretation | Introductory Module 5 case
M5-02 | 5 | Recurrent Decay Under Crown | Radiographic Interpretation |  | 3 | Recurrent caries on #19D | Radiographic Interpretation | Subtle radiolucency beneath crown margin
M5-03 | 5 | Early Horizontal Bone Loss | Radiographic Interpretation |  | 2 | Mild horizontal bone loss | Radiographic Interpretation | Requires identifying crestal bone changes
M5-04 | 5 | Distal Caries vs Overlap | Radiographic Interpretation |  | 2 | Interproximal caries on #30D | Radiographic Interpretation | Differentiate true caries from contact overlap
M5-05 | 5 | Mental Foramen vs. Periapical Pathology | Radiographic Interpretation |  | 3 | Mental foramen (normal anatomy) | Radiographic Interpretation | AI may incorrectly suggest periapical pathology

## CaseBuildout
Case ID | Image Reference | Step | Learning Objective | Prompt | Student Action | Answer Type | Answer Option | AI Interpretation | Expected Response | Points | Feedback | Data Captured | Difficulty | Adaptive Tag | AI Compatiblity | Expert Insight – Correct Interpretation | Expert Insight – Why? | Expert Insight – Common Pitfall | Expert Insight – Teaching Points | Expert Insight – Cliniccal Pearls
M1-02 | TBD_M1_02 | 1 | 1 | Is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 | Overlapping contacts limit interpretation | Diagnostic classification | 2 | diagnostic_quality | future | Expert Insight – Why?
M1-02 | TBD_M1_03 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Horizontal overlap | 2 | Contacts are superimposed | Error identification | 2 | overlap | future | Expert Insight – Common Pitfall |  | Diagnostic Classification
M1-02 | TBD_M1_04 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Incorrect vertical angulation; Patient movement; Incorrect exposure settings |  | Incorrect horizontal angulation | 2 | Beam angulation was improper | Cause identification | 2 | horizontal_angulation | future | Expert Insight – Teaching Points |  | Error Identification
M1-02 | TBD_M1_05 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Reposition sensor; Adjust vertical angulation; Stabilize patient; Modify exposure settings |  | Adjust horizontal angulation | 2 | Proper angulation opens contacts | Corrective action | 2 | overlap_correction | future | Expert Insight – Clinical Pearl |  | Cause Identification
M1-02 | TBD_M1_06 | 5 | 6 | Compare original and corrected image | Visual comparison | Visual Comparison | N/A |  | Contacts opened | 0 | Diagnostic quality improved | Visual learning reinforcement | 1 | visual_comparison | future |  |  | Corrective Action
M1-03 | TBD_M1_03 | 1 | 1 | is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 | Elongation distorts tooth length and limits diagnostic interpretation | Diagnostic classification | 2 | diagnostic_quality | future |  |  | Visual Reinforcement
M1-03 | TBD_M1_03 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Elongation | 2 | The teeth appear longer than their actual anatomical length | Error identification | 2 | elongation | future
M1-03 | TBD_M1_03 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Insufficient vertical angulation; Excessive vertical angulation; Patient movement; Incorrect exposure settings |  | Insufficient vertical angulation | 2 | Elongation occurs when the vertical angulation is too shallow | Cause identification | 2 | Cause identification | future
M1-03 | TBD_M1_03 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Increase vertical angulation; Decrease vertical angulation; Reposition sensor; Stabilize patient; Modify exposure settings |  | Increase vertical angulation | 2 | Increasing vertical angulation helps correct elongat | Corrective action | 2 | elongation_correction | future
M1-03 | TBD_M1_03 | 5 | 6 | Compare the original and corrected image | Visual comparison | Visual comparison | N/A |  | Corrected image shows more accurate tooth length | 0 | Correcting vertical angulation improves anatomical representation and diagnostic quality | Visual learning reinforcement | 1 | visual_comparison | future
M1-04 | TBD_M1_04 | 1 | 1 | Is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 | Foreshortening distorts anatomical structures and may limit diagnostic interpretation. | Diagnostic classification | 2 | diagnostic_quality
M1-04 | TBD_M1_04 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Foreshortening | 2 | The teeth appear shorter than their actual anatomical length | Error identification | 2 | foreshortening
M1-04 | TBD_M1_04 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Insufficient vertical angulation; Excessive vertical angulation; Patient movement; Incorrect exposure settings |  | Excessive vertical angulation | 2 | Foreshortening occurs when the vertical angulation is too steep | Cause identification | 2 | vertical_angulation
M1-04 | TBD_M1_04 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Increase vertical angulation; Decrease vertical angulation; Reposition sensor; Stabilize patient; Modify exposure settings |  | Decrease vertical angulation | 2 | Decreasing vertical angulation helps correct foreshortening and improves image accuracy. | Corrective action | 2 | foreshortening_correction
M1-04 | TBD_M1_04 | 5 | 6 | Compare original and corrected image | Visual comparison | Visual Comparison | N/A |  | Corrected image shows more accurate tooth length and anatomical representation | 0 | Correcting vertical angulation improves anatomical representation and diagnostic quality. | Visual learning reinforcement | 1 | visual_comparison
M1-05 | TBD_M1_05 | 1 | 1 | Is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 |  | Diagnostic classification | 2
M1-05 | TBD_M1_05 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Motion artifact | 2 | Blurring of structures indicates movement during image acquisition. | Error identification | 2 | motion_artifact
M1-05 | TBD_M1_05 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Insufficient vertical angulation; Excessive vertical angulation; Patient movement; Incorrect exposure settings |  | Patient movement | 2 | Movement during exposure causes loss of image sharpness. | Cause identification | 2 | patient_stabilization
M1-05 | TBD_M1_05 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Increase vertical angulation; Decrease vertical angulation; Reposition sensor; Stabilize patient; Modify exposure settings |  | Stabilize patient | 2 | Reducing movement improves image clarity and diagnostic quality. | Corrective action | 2 | motion_correction
M1-05 | TBD_M1_05 | 5 | 6 | Compare original and corrected image | Visual comparison | Visual Comparison | N/A |  |  | 0 |  | Visual learning reinforcement | 1 | visual_comparison
M1-06 | TBD_M1_06 | 1 | 1 | Is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 |  | Diagnostic classification | 2
M1-06 | TBD_M1_06 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Exposure error | 2 | The image appears too light, limiting visualization of structures | Error identification | 2 | underexposure
M1-06 | TBD_M1_06 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Insufficient vertical angulation; Excessive vertical angulation; Patient movement; Incorrect exposure settings |  | Incorrect exposure settings | 2 | Insufficient exposure results in a light image with reduced diagnostic value. | Cause identification | 2 | exposure_settings
M1-06 | TBD_M1_06 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Increase vertical angulation; Decrease vertical angulation; Reposition sensor; Stabilize patient; Modify exposure settings |  | Modify exposure settings | 2 | Increasing exposure improves image density and visibility. | Corrective action | 2 | exposure_correction
M1-06 | TBD_M1_06 | 5 | 6 | Compare original and corrected image | Visual comparison | Visual Comparison | N/A |  |  | 0 |  | Visual learning reinforcement | 1
M1-07 | TBD_M1_07 | 1 | 1 | Is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 |  | Diagnostic classification | 2
M1-07 | TBD_M1_07 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Exposure error | 2 | The image appears too dark, obscuring anatomical details. | Error identification | 2 | overexposure
M1-07 | TBD_M1_07 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Incorrect vertical angulation; Patient movement; Incorrect exposure settings |  | Incorrect exposure settings | 2 | Excessive exposure results in a dark image and loss of detail. | Cause identification | 2 | exposure_settings
M1-07 | TBD_M1_07 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Reposition sensor; Adjust vertical angulation; Stabilize patient; Modify exposure settings |  | Modify exposure settings | 2 | Reducing exposure improves image quality and diagnostic value. | Corrective action | 2 | exposure_correction
M1-07 | TBD_M1_07 | 5 | 6 | Compare original and corrected image | Visual comparison | Visual Comparison | N/A |  |  | 0 |  | Visual learning reinforcement | 1
M1-08 | TBD_M1_08 | 1 | 1 | is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 |  | Diagnostic classification | 2
M1-08 | TBD_M1_08 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Exposure error (or Herringbone artifact if you add it to answer choices) | 2 | The characteristic herringbone pattern indicates the receptor was placed backwards. | Error identification | 2 | herringbone
M1-08 | TBD_M1_08 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Insufficient vertical angulation; Excessive vertical angulation; Patient movement; Incorrect exposure settings |  | Sensor positioned incorrectly | 2 | The image receptor was reversed during exposure. | Cause identification | 2 | receptor_orientation
M1-08 | TBD_M1_08 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Increase vertical angulation; Decrease vertical angulation; Reposition sensor; Stabilize patient; Modify exposure settings |  | Reposition sensor | 2 | Correct sensor orientation prevents herringbone artifacts. | Corrective action | 2 | herringbone_correction
M1-08 | TBD_M1_08 | 5 | 6 | Compare the original and corrected image | Visual comparison | Visual comparison | N/A |  |  | 0 |  | Visual learning reinforcement | 1
M1-09 | TBD_M1_09 | 1 | 1 | Is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 |  | Diagnostic classification | 2
M1-09 | TBD_M1_09 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Cone cut | 2 | A portion of the receptor was not exposed by the X-ray beam. | Error identification | 2 | cone_cut
M1-09 | TBD_M1_09 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Insufficient vertical angulation; Excessive vertical angulation; Patient movement; Incorrect exposure settings |  | Sensor positioned incorrectly or beam not centered if you later expand options) | 2 | The X-ray beam did not fully cover the receptor | Cause identification | 2 | beam_alignment
M1-09 | TBD_M1_09 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Increase vertical angulation; Decrease vertical angulation; Reposition sensor; Stabilize patient; Modify exposure settings |  | Reposition sensor | 2 | Proper alignment ensures complete receptor coverage. | Corrective action | 2 | cone_cut_correction
M1-09 | TBD_M1_09 | 5 | 6 | Compare original and corrected image | Visual comparison | Visual Comparison | N/A |  |  | 0 |  | Visual learning reinforcement | 1
M1-10 | TBD_M1_10 | 1 | 1 | Is this radiograph diagnostic or non-diagnostic? | Select answer | Binary | Diagnostic; Non-diagnostic |  | Non-diagnostic | 1 |  | Diagnostic classification | 2
M1-10 | TBD_M1_10 | 2 | 2 | What is the primary radiographic error? | Select error | Single Select | Cone cut; Horizontal overlap; Elongation; Foreshortening; Motion artifact; Underexposure; Overexposure; Herringbone artifact |  | Horizontal overlap | 2 | Overlapping contacts prevent accurate interproximal evaluation. | Error identification | 2 | overlap
M1-10 | TBD_M1_10 | 3 | 3 | What most likely caused this error? | Select cause | Single Select | Sensor positioned incorrectly; Incorrect horizontal angulation; Insufficient vertical angulation; Excessive vertical angulation; Patient movement; Incorrect exposure settings |  | Incorrect horizontal angulation | 2 | Improper horizontal angulation causes contact overlap | Cause identification | 2 | horizontal_angulation
M1-10 | TBD_M1_10 | 4 | 4 | What adjustment would best correct this issue? | Select correction | Single Select | Adjust horizontal angulation; Increase vertical angulation; Decrease vertical angulation; Reposition sensor; Stabilize patient; Modify exposure settings |  | Adjust horizontal angulation | 2 | Proper horizontal angulation opens contacts for interpretation. | Corrective action | 2 | overlap_correction
M1-10 | TBD_M1_10 | 5 | 6 | Compare original and corrected image | Visual comparison | Visual Comparison | N/A |  |  | 0 |  | Visual learning reinforcement | 1
M5-01 | TBD_M5_01 | 1 | 2 | Review the radiograph below. Mark the area you would like to evaluate first by placing a marker or drawing a box. | Mark Area of Interest | Area Selection | Marker or Box |  | Area marked includes the mesial interproximal lesion on tooth #30. | 2 | The selected area should include the interproximal radiolucency on the mesial surface of tooth #30. | Area selection accuracy; Time to first selection | 2 | localization | Yes
M5-01 | TBD_M5_01 | 2 | 2 | Identify the tooth associated with the selected area and select the affected surface. | Select Tooth and Surface | Interactive Odontogram | Interactive Odontogram |  | Tooth #30; Mesial surface | 2 | The selected area corresponds to tooth #30 on the mesial surface. | Tooth and surface identification accuracy | 2 | tooth_surface_identification | Yes
M5-01 | TBD_M5_01 | 3 | 1 | What is the primary radiographic finding? | Select Finding | Single Select | Interproximal caries; Recurrent caries; Occlusal caries; Bone loss; Periapical lesion; Normal anatomy; Radiographic artifact |  | Interproximal caries | 2 | The radiolucency on the mesial surface of tooth #30 is consistent with interproximal caries. | Finding identification accuracy | 2 | interproximal_caries | Yes
M5-01 | TBD_M5_01 | 4 | 5,6 | Review the AI interpretation below. Based on your interpretation of the radiograph, how would you like to proceed? | Evaluate AI Interpretation | Single Select | Keep my original interpretation; Revise my interpretation; I'm uncertain (Launches Coaching workflow) | Identified Interproximal caries on the mesial surface of tooth #30. | Student evaluates the AI interpretation and decides whether to keep or revise the original interpretation or request AI guidance. | 2 | Compare the AI interpretation with your own assessment. Use the radiographic evidence to determine whether your original interpretation should be maintained or revised. | AI influence on interpretation | 3 | AI_interpretation | Yes
M5-01 | TBD_M5_01 | 5 | 9 | Review the annotated radiograph and faculty explanation. | Faculty Review | Faculty Review | N/A |  | Faculty review completed | 0 | The annotated image demonstrates interproximal caries on the mesial surface of tooth #30. The lesion appears as a triangular radiolucency extending beyond the dentinoenamel junction. Differentiate this appearance from cervical burnout, which has diffuse borders and occurs near the cementoenamel junction. | Learning reinforcement | 1 | faculty_review | Yes
M5-02 | TBD_M5_02 | 1 | 2 | Review the radiograph below. Mark the area you would like to evaluate first by placing a marker or drawing a box. | Mark Area of Interest | Area Selection | Marker or Box |  | Area marked includes the distal crown margin of tooth #19 | 2 | The selected area should include the radiolucency beneath the distal crown margin on tooth #19. | Area selection accuracy; Time to first selection | 3 | localization | Yes
M5-02 | TBD_M5_02 | 2 | 2 | Identify the tooth associated with the area you selected. | Select Tooth | Tooth Selection | Interactive Odontogram |  | Tooth #19 | 2 | The selected area corresponds to tooth #19. | Tooth identification accuracy | 2 | tooth_identification | Yes
M5-02 | TBD_M5_02 | 3 | 1 | What is the primary radiographic finding? | Select Finding | Single Select | Interproximal caries; Recurrent caries; Occlusal caries; Bone loss; Periapical lesion; Normal anatomy; Radiographic artifact |  | Recurrent caries | 2 | The radiolucency beneath the distal crown margin is consistent with recurrent caries. | Finding identification accuracy | 3 | recurrent_caries | Yes
M5-02 | TBD_M5_02 | 4 | 5,6 | Review the AI interpretation below. Based on your interpretation of the radiograph, how would you like to proceed? | Evaluate AI Interpretation | Single Select | Keep my original interpretation; Revise my interpretation; I'm uncertain | I identified recurrent caries beneath the distal crown margin of tooth #19. | Student evaluates the AI interpretation and decides whether to keep or revise the original interpretation. If the student selects "I'm uncertain," ORBIT launches the AI Coaching workflow. | 2 | Compare the AI interpretation with your own assessment. If you remain uncertain, use the AI Coaching guidance to help you arrive at your final interpretation. | AI influence on interpretation | 3 | AI_interpretation | Yes
M5-02 | TBD_M5_02 | 5 | 9 | Recurrent caries on the distal surface of tooth #19 beneath the crown margin | Faculty Review | Faculty Review | N/A |  | Faculty review completed | 0 | The annotated image demonstrates recurrent caries beneath the distal crown margin of tooth #19. Recurrent caries often appears as a radiolucency adjacent to an existing restoration or crown margin. Careful evaluation of restoration margins is essential to distinguish recurrent decay from restorative materials or radiographic artifacts. | Learning reinforcement | 1 | faculty_review | Yes | Recurrent caries on the distal surface of tooth #19 beneath the crown margin. | The radiolucency is located beneath the distal margin of the crown and extends into the adjacent tooth structure, a classic radiographic appearance of recurrent caries. | Students often mistake radiolucencies beneath restoration margins for restorative material, burnout, or radiographic artifact rather than recurrent caries. | Carefully evaluate all restoration and crown margins for radiolucencies. • Compare the radiographic density beneath the restoration with the surrounding dentin. • Correlate the radiographic appearance with the patient's caries risk and clinical findings. | Always inspect restoration margins systematically—small radiolucencies beneath a crown or restoration may represent early recurrent caries before clinical symptoms develop.
M5-03 | TBD_M5_03 | 1 | 2 | Review the radiograph below. Mark the area you would like to evaluate first by placing a marker or drawing a box. | Mark Area of Interest | Area Selection | Marker or Box |  | Area marked includes the crestal bone between teeth #19 and #20. | 2 | The selected area should include the crestal bone where early horizontal bone loss is present. | Area selection accuracy; Time to first selection | 2 | localization | Yes
M5-03 | TBD_M5_03 | 2 | 2 | Identify the tooth associated with the selected area and select the affected surface. | Select Tooth and Surface | Interactive Odontogram | Interactive Odontogram |  | Tooth #19; Distal surface | 2 | The selected region is associated with the distal surface of tooth #19. | Tooth and surface identification accuracy | 2 | tooth_surface_identification | Yes
M5-03 | TBD_M5_03 | 4 | 5,6 | The AI identified early horizontal bone loss between teeth #19 and #20. Based on your interpretation, would you like to accept, revise, or keep your original interpretation? | Evaluate AI Interpretation | Single Select | Accept AI interpretation; Revise my interpretation; Keep my original interpretation |  | Student makes a clinical decision after reviewing the AI interpretation | 2 | The AI interpretation should be considered together with the radiographic evidence before making a final decision. | AI influence on interpretation | 2 | AI_interpretation | Yes
M5-04 | TBD_M5_04 | 1 | 2 | Review the radiograph below. Mark the area you would like to evaluate first by placing a marker or drawing a box. | Mark Area of Interest | Area Selection | Marker or Box |  | Area marked includes the distal interproximal surface of tooth #30. | 2 | The selected area should include the suspicious radiolucency adjacent to the distal surface of tooth #30. | Area selection accuracy; Time to first selection | 2 | localization | Yes
M5-04 | TBD_M5_04 | 2 | 2 | Identify the tooth associated with the selected area and select the affected surface. | Select Tooth and Surface | Interactive Odontogram | Interactive Odontogram |  | Tooth #30; Distal surface | 2 | The selected area corresponds to the distal surface of tooth #30. | Tooth and surface identification accuracy | 2 | tooth_surface_identification | Yes
M5-04 | TBD_M5_04 | 3 | 1 | What is the primary radiographic finding? | Select Finding | Single Select | Interproximal caries; Recurrent caries; Horizontal bone loss; Periapical lesion; Normal anatomy; Radiographic artifact |  | Interproximal caries | 2 | The radiolucency is consistent with interproximal caries rather than simple contact overlap. | Finding identification accuracy | 2 | interproximal_caries | Yes
M5-04 | TBD_M5_04 | 4 | 5,6 | The AI identified contact overlap rather than caries. Based on your interpretation, would you like to accept, revise, or keep your original interpretation? | Review AI Interpretation | Single Select | Accept AI interpretation; Revise my interpretation; Keep my original interpretation |  | Student makes a clinical decision after reviewing the AI interpretation | 2 | Compare the AI interpretation with the radiographic evidence before making your final decision. | AI influence on interpretation | 2 | AI_interpretation | Yes
M5-04 | TBD_M5_04 | 5 | 9 | Review the annotated radiograph and faculty explanation. | Faculty Review | Faculty Review | N/A |  | Faculty review completed | 0 | The faculty review demonstrates that the radiolucency extends beyond the normal appearance of contact overlap and is consistent with interproximal caries. Evaluate lesion shape, border definition, and extension beyond the enamel when distinguishing caries from overlap. | Learning reinforcement | 1 | faculty_review | Yes
M5-05 | TBD_M5_05 | 1 | 2 | Review the radiograph below. Mark the area you would like to evaluate first by placing a marker or drawing a box. | Mark Area of Interest | Area Selection | Marker or Box |  | Area marked includes the radiolucency adjacent to the apex of tooth #29. | 2 | The selected area should include the radiolucency in the premolar region near tooth #29. | Area selection accuracy; Time to first selection | 3 | localization | Yes
M5-05 | TBD_M5_05 | 2 | 2 | Identify the tooth associated with the selected area and select the affected surface. | Select Tooth and Surface | Interactive Odontogram | Interactive Odontogram |  | Tooth #29; Apical region | 2 | The selected area is associated with the apical region of tooth #29. | Tooth and location identification accuracy | 3 | tooth_location_identification | Yes
M5-05 | TBD_M5_05 | 3 | 1 | What is the primary radiographic finding? | Select Finding | Single Select | Interproximal caries; Recurrent caries; Horizontal bone loss; Vertical bone loss; Periapical lesion; Normal anatomy; Radiographic artifact |  | Normal anatomy (Mental foramen) | 2 | The radiolucency is consistent with the mental foramen, a normal anatomical structure, rather than a periapical lesion. | Finding identification accuracy | 3 | mental_foramen | Yes
M5-05 | TBD_M5_05 | 4 | 5,6 | Review the AI interpretation below. Based on your interpretation of the radiograph, how would you like to proceed? | Evaluate AI Interpretation | Single Select | Keep my original interpretation; Revise my interpretation; I'm uncertain | I identified a periapical lesion associated with tooth #29. | Student evaluates the AI interpretation and decides whether to keep or revise the original interpretation or request AI Coaching. | 2 | Compare the AI interpretation with the radiographic evidence. Evaluate the position of the lamina dura, periodontal ligament space, and the location of the radiolucency before making your final decision. | AI influence on interpretation | 3 | AI_interpretation | Yes
M5-05 | TBD_M5_05 | 5 | 9 | Review the annotated radiograph and faculty explanation. | Faculty Review | Faculty Review | N/A |  | Faculty review completed | 0 | The annotated image demonstrates the mental foramen, a normal anatomical landmark commonly mistaken for a periapical lesion. An intact lamina dura and normal periodontal ligament space help distinguish normal anatomy from pathology. Always correlate the radiographic appearance with the tooth's clinical status before diagnosing periapical disease. | Learning reinforcement | 1 | faculty_review | Yes

## LearningFramework
Principle | Description | Applies To
Student-first interpretation | Students make an independent interpretation before receiving AI feedback. | Modules 5, 7, 8
AI as a coach | AI guides students with prompts and hints rather than simply giving the answer. | Modules 5, 7, 8
Faculty is the gold standard | Faculty Review provides the authoritative explanation after the student completes the case. | Modules 5, 7, 8
Learning through reasoning | ORBIT evaluates how students reach an answer, not just whether they are correct. | All modules
Student Response | Orbit Behavior
Keep my original interpretation | Continue to Faculty Review
Revise my interpretation | Allow student to revise tooth, surface, and finding, then continue to Faculty Review
I’m uncertain | Start AI Coaching
AI Coaching Level | Purpose | Example
Hint 1 | Direct attention | Look carefully at the area you selected. What radiographic feature stands out?
Hint 2 | Guide reasoning | Compare the radiolucency with the surrounding tooth structure. Does it extend beyond the expected margin?
Hint 3 | Reinforce concept | Recurrent caries often appears as a radiolucency adjacent to an existing restoration or crown margin.
Final decision | Student decides | Student keeps or revises interpretation before Faculty Review.

## ReferenceListsDifficulty
Difficulty | Definitions | Answer Type | AdaptiveTag | AICompatible | QuestionType | CaseType |  | Module
1 | Obvious/basic | Binary | Overlap | Yes | Error ID | Error Correction | 1 | Image Quality and Error Correctiom
2 | Moderate | Single Select | cone_cut | No | Cause ID | Mounting & Orientation | 2 | Radiographic Mounting
3 | Subtle/complex | Multiple Select | elongation | Future | Correction | Tooth Identification | 3 | Tooth Identification and Localization
|  | Tooth Selection | foreshortening |  | Normal vs pathology | False Positive Trap | 4 | Normal Anatomy vx Pathology
|  | Area Selection | diagnostic_quality |  | Diagnosis | Radiographic Interpretation | 5 | Radiographic Interpretaion & AI Comparison
|  | Visual Comparision | false_positive |  | AI agreement | Clinical Documentation | 6 | Clinical Documentation and EHR Simulation
|  | Faculty Review | localization |  | Annotation review | Panoramic Interpretation | 7 | Panorex
|  |  | AI_overreliance |  | Management decision | Advanced Clinical Decision Making | 8 | Advanced Cases & Clinical Decision Making
|  |  | bone_loss |  | Visual comparison
recurrent_caries